# Use of market authorisation evidence from comparable overseas regulators and assessment bodies for medical devices (including IVDs)

To abridge TGA conformity assessments and for ARTG inclusion applications

Version 2.0, January 2025

Copyright

© Commonwealth of Australia 2025
This work is copyright. You may reproduce the whole or part of this work in unaltered form for your own personal use or, if you are part of an organisation, for internal use within your organisation, but only if you or your organisation do not use the reproduction for any commercial purpose and retain this copyright notice and all disclaimer notices as part of that reproduction. Apart from rights to use as permitted by the Copyright Act 1968 or allowed by this copyright notice, all other rights are reserved and you are not allowed to reproduce the whole or any part of this work in any way (electronic or otherwise) without first being given specific written permission from the Commonwealth to do so. Requests and inquiries concerning reproduction and rights are to be sent to the TGA Copyright Officer, Therapeutic Goods Administration, PO Box 100, Woden ACT 2606 or emailed to <tga.copyright@tga.gov.au>.

Contents

Introduction	4

This guidance	4

Overseas evidence that can be considered	4

Application requirements	5

Reduction of assessment fees for medical devices	5

How to use this section	5

Part A – Abridged TGA conformity assessment	6

Requirements when relying on overseas approvals or assessments	6

How to use Table 1	6

Part B – Applications for ARTG inclusion	8

Requirements when relying on overseas approvals or assessments	9

How to use Table 2	9

Table 1: Documents to abridge TGA conformity assessment	13

Table 2: Information needed for ARTG inclusion applications	15

## Introduction

The Therapeutic Goods Administration (TGA) recognises and relies on a range of marketing approvals of medical devices, including IVD medical devices, where the device has been:

conformity assessed by a body that has been designated to undertake conformity assessments by a comparable overseas designating authority; or

approved by a comparable overseas national regulatory authority.

### This guidance

This document gives an overview of the specific comparable overseas regulator assessments and approvals that applicants:

can use to support abridged assessment of an application for a TGA conformity assessment certificate

must provide with applications for inclusion of medical devices (including IVDs) in the ARTG.

|  | Please note These arrangements are prescribed by the following instruments: Therapeutic Goods (Overseas Regulators) Determination 2022 Therapeutic Goods (Medical Devices—Information that Must Accompany Application for Inclusion) Amendment Determination (No. 3) 2024 In case of any inconsistencies between instruments (including future amendments) and this guidance, the instruments are in force and should be followed. |
| --- | --- |

## Overseas evidence that can be considered

The TGA will consider the following specific evidence and documentation issued by comparable overseas regulators and assessment bodies:

Certificates issued by Notified Bodies under the medical device regulatory frameworks of the European Union (Medical Device Directives 93/42/EEC and 90/385/EEC, IVD Directive 98/79/EC, Medical Device Regulation, or IVD Regulation)

Premarket approval and 510K decisions of the United States Food and Drug Administration (FDA)

Approvals and medical device licences issued by Health Canada

Pre-market approvals or certification from Japan (issued by the Ministry of Health, Labour and Welfare (MHLW), Pharmaceutical and Medical Devices Agency (PMDA)

Registrations or approvals of the Singapore Health Sciences Authority (HSA)

ISO 13485 certificates issued by a certification body that is also a Notified Body designated under the IVDD 98/79/EC, submitted with an EU Declaration of Conformity made by the manufacturer before 26 May 2022 under Annex III of IVDD 98/79/EC (for Class 2 IVD applications submitted before 26 May 2027 and Class 3 IVD applications submitted before 26 May 2026).

ISO 13485 certificates issued by a body that is accredited by a signatory to the Multilateral Recognition Arrangement of the International Accreditation Forum (IAF MLA) submitted with an EU Declaration of Conformity made by the manufacturer before 26 May 2022 under Annex III of IVDD 98/79/EC (for Class 2 IVD applications submitted before 26 May 2027 and Class 3 IVD applications submitted before 26 May 2026).

Certificates and reports issued under the Medical Device Single Audit Program (MDSAP)

|  | For MDSAP certificates and audit reports to be considered, the Australian regulatory requirements must have been covered in the audits, and certificates must show that the manufacturer has been assessed and found to comply with the relevant aspects of the Therapeutic Goods (Medical Devices) Regulations 2002 |
| --- | --- |

The documentation should be issued by a comparable overseas regulator or assessment body for the same medical device or medical device group you are applying for. The device must:

have the same design, intended purpose and user

be intended for the same indications.

Table 1 and Table 2 in this guidance specify what documentation can be used for what purpose:

Table 1 – Documents to abridge TGA conformity assessment

Table 2 – Information needed for ARTG inclusion applications

## Application requirements

### Reduced assessment fees for medical devices

The TGA may reduce assessment fees for application audit assessments and conformity assessments in some cases. Please see: Reduction of assessment fees for medical devices for information about the eligibility requirements and procedures.

### How to use this section

The requirements are divided into two parts:

Part A – Abridgement of TGA conformity assessment applications

Part B – Applications for ARTG inclusion

### Part A – Abridged TGA conformity assessment

Evidence of conformity assessment needs to demonstrate that a manufacturer’s quality management system meets certain regulatory requirements, and that their devices comply with the relevant essential principles. An acceptable comparable overseas regulator audit report or product evaluation report may contain information that will help to demonstrate that these requirements are met.

For the possible abridgement of a TGA conformity assessment application, you may provide certain documents from specified overseas assessment bodies. The TGA may be able to reduce the amount of assessment that it must undertake on the application.

#### Requirements when relying on overseas approvals or assessments

Table 1 outlines the documents that can be provided against the relevant conformity assessment procedures. This includes MDSAP reports, which can be considered when assessing a conformity assessment application.

#### How to use Table 1

##### Example A – Initial application for TGA conformity assessment certificate using overseas initial audit evidence

An application for a:

Part 1 Full Quality Management System (QMS) certificate for a manufacturer of medical devices requires:

a Design and Production QMS assessment

that the manufacturer has an EU Medical Device Directive (MDD) Full Quality Assurance (FQA) audit report

that the FQA audit report is an initial audit report that covers the same manufacturing sites and device categories as your application.

You may provide the FQA audit report to the TGA with the supporting documentation for the application.

If a sufficiently detailed report is provided, then we may be able reduce the assessment by undertaking a desk assessment of the QMS instead of an on-site audit.

##### Example B – Initial application for TGA conformity assessment certificate using overseas re-audit evidence

An application for a:

Part 1 Full Quality Management System (QMS) certificate for a manufacturer of medical devices requires:

a Design and Production QMS assessment

that the manufacturer has an EU Medical Device Directive (MDD) Full Quality Assurance (FQA) audit report

That the FQA audit report is a recertification audit report (re-audit) that covers the same manufacturing sites and device categories as your application.

You may provide the FQA audit report (re-audit) to the TGA with the supporting documentation for the application.

If a sufficiently detailed report is provided, then we may be able reduce the assessment by undertaking a desk assessment of the QMS instead of an on-site audit.

##### Example C – Assessing substantial change to a TGA Production QMS Certificate

You have a current TGA Part 4 Production QMS certificate and:

have applied for the assessment of a substantial change

the manufacturer has an MDSAP Audit Report for a surveillance audit that includes assessment of the change.

You may provide the audit report to the TGA with the supporting documentation for the application.

If the report is sufficiently detailed and the change has been assessed as satisfactory by the assessment body, then we may be able to abridge the assessment of the change.

### Part B – Applications for ARTG inclusion

Any application for inclusion of a medical device in the ARTG must include certain information as required in the application form. Also, certain information must accompany the application to pass preliminary assessment. If an application does not pass preliminary assessment, it will be refused.

- The  Therapeutic Goods (Medical Devices—Information that Must Accompany Application for Inclusion) Amendment Determination (No. 3) 2024

(as amended) sets out what documentation must be provided with an application for inclusion to pass preliminary assessment. This information is summarised in Table 2.

Depending on the category and classification of a medical device, sponsors can choose certain documents from comparable overseas regulators or assessment bodies to meet the requirements for:

Manufacturer Evidence (must be submitted, assessed and accepted before you apply for your device to be included in the ARTG), and

evidence of product assessment (must be attached to your application for ARTG inclusion).

|  | Please note: Applications for ARTG inclusion of certain medical devices, including IVDs, supported by certain comparable overseas regulator or assessment body approvals, must be selected for audit (refer to Regulation 5.3). The TGA may also select any other application for inclusion of a medical device in the ARTG for non-mandatory audit, for example, where there are known issues with the performance or the use of the device in question. The level of audit assessment may depend on the category or class of the medical device, and the comparable overseas regulator evidence provided with the application. |
| --- | --- |

|  | Sponsors can ask for reduced audit assessment fees if the audit can be abridged (including, for example, requests to abridge assessments from Level 2 to Level 1 audit if appropriate). In such cases sponsors need to provide brief justifications supporting their requests for the TGA delegate to consider. The guidance on requests for abridged assessment is available on the TGA website. We have provided some examples on the TGA website on the expected level of audit assessment for different devices with different conformity assessment documents. |
| --- | --- |

#### Requirements when relying on overseas approvals or assessments

Table 2 provides a list of the documents that are required for different classes of medical devices.

#### How to use Table 2

|  | Please review the list of conformity assessment documents provided in Table 2 for your class of medical device. The categories of documents included as the Manufacturer Evidence and the Evidence of product assessment attached with your ARTG inclusion application, must appear in the same line in Table 2. |
| --- | --- |

##### Example A – Class Is medical device

If you apply for inclusion in the ARTG of a Class I medical device intended to be supplied sterile (Class Is), and the manufacturer provided you with a copy of their EC Certificate issued by one of the European Notified Bodies under EU MDD 93/42/EEC, the following documents will be required.

###### Manufacturer Evidence

The EC Certificate issued under either Annex II.3 or Annex V must be submitted as your Manufacturer Evidence (EC Certificate issued under Annex IV or Annex VI is not appropriate evidence for Class Is medical devices).

###### Documentation that must be provided with the application for inclusion of your medical device in ARTG

The next part of the table lists the documentation that you must provide with the application for ARTG inclusion of your medical device.

In this case, there is no additional information which needs to be provided.

##### Example B – Class IIb medical device

If you apply for inclusion of a Class IIb medical device in the ARTG, and the manufacturer holds a MDSAP Certificate for their quality management system (QMS) and product approvals from FDA or Health Canada, you will be required to submit these documents as specified below.

###### Manufacturer Evidence

The MDSAP Certificate issued to the manufacturer of the device must be submitted as Manufacturer Evidence.

|  | Please note The MDSAP certificate must be issued to the manufacturer stated on the labelling and instructions for use as the manufacturer of the kind of device for which you submitted your application for inclusion in the ARTG. |
| --- | --- |

###### Evidence of product assessment that must be provided with the application for inclusion of your medical device in ARTG

In this case, the documentation that you must provide with the application for ARTG inclusion of your medical device must include the following:

- From

Health Canada: Medical device licence Class III,

or

US FDA: De Novo Decision Summary, or 510(k) Summary, or Premarket Approval (PMA).

|  | Please note Applications for ARTG inclusion of Class IIb devices may be selected for a non-mandatory application audit. The TGA encourages applicants to have and be able to provide the relevant supporting documentation which underpins approvals of these devices. Applicants should also have available clinical evidence to support the device’s intended purpose and claims and be able to provide that to the TGA on request. |
| --- | --- |

##### Example C – Class 3 IVD medical device

If you apply for ARTG inclusion of a Class 3 IVD medical device in the ARTG and the manufacturer provided you with a copy of their certification issued by one of the European Notified Bodies under EU IVD Regulation (EU) 2017/746 , the following documents will be required.

###### Manufacturer Evidence

The certification issued under Annex IX, Chapter 1 or Annex XI excluding section 5,  must be submitted as your Manufacturer Evidence.

###### Evidence of product assessment that must be provided with the application for inclusion of your medical device in ARTG

If you provide a certification issued under Annex IX, Chapter 1 of EU IVDR, you must also provide evidence of product assessment under Annex IX Section 4, and for self-tests and companion diagnostics there is additional requirements under Annex IX, Section 5.1 and 5.2,respectively depending on the device.

Examples of technical documentation can be the Performance Assessment Evaluation Report (PEAR), Technical Documentation Assessment Report (TDAR) provided by the notified bodies. For Class 3 devices, the PEAR and TDAR can  be attached to the application for inclusion to facilitate preliminary assessment.

It is encouraged that applicants submit the information for use (IFU) of the device as part of the inclusion application, as this item can also help expedite the preliminary assessment.

## Table 1: Documents to abridge TGA conformity assessment

For TGA-Issued Conformity Assessment Certificates

| TGA Conformity Assessment Procedure |  | Comparable Overseas Regulator / Assessment Body evidence which can be provided for abridgement |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Product Assessment | Initial Audit | Surveillance Audit (Annual) | Re-audit (new certification cycle) |
| Part 1 – Full QMS The TGA must certify the design and the full QMS as a “single decision maker” for the Part 1 CA procedure | 1.3 Design and Production QMS Assessment (Initial, and Recertification) |  | EU MDD/IVDD/AIMDD Full Quality Assurance (FQA) Audit Report EU MDR/IVDR Quality Management System Audit Report MDSAP Audit Report | MDSAP Audit Report or EU MDD/IVDD/AIMDD FQA Audit Report or EU MDR/IVDR Audit Report Accepted in place of a TGA surveillance assessment (with a satisfactory audit scope and in the absence of safety signals) Considered along with a Re-audit for the purposes of TGA recertification (5 year cycle) | MDSAP Audit Report or EU MDD/IVDD/AIMDD FQA Audit Report or EU MDR/IVDR Audit Report Accepted in place of a TGA surveillance assessment (with a satisfactory audit scope and in the absence of safety signals) |
|  | 1.5 Assessment of changes to the Design and Production QMS |  |  | MDSAP Audit Report or EU MDD/IVDD/AIMDD FQA Audit Report or EU MDR/IVDR Audit Report Considered for the purposes of abridging TGA’s assessment of the change. | MDSAP Audit Report or EU MDD/IVDD/AIMDD FQA Audit Report or EU MDR/IVDR Audit Report Considered for the purposes of abridging TGA’s assessment of the change. |
|  | 1.6 Examination of the design | PMA (US FDA) MDL (Health Canada) Product Certification (PMDA) EU MDD/AIMDD Annex II.4 Report EU MDR/IVDR Annex IX – EU technical documentation report EU IVDD Annex IV.4 Report |  |  |  |
| Part 2 – Type Examination | 2.3 Examination of the Type | EU MDD Annex III Report EU MDR/IVDR Annex X – EU type-examination report EU IVDD Annex V Report EU AIMDD Annex 3 Report |  |  |  |
|  | 2.4 Examination of changes to the Type |  |  |  |  |
| Part 3 – Verification | 3.3 100% or Batch Verification |  |  |  |  |
| Part 4 – Production QMS | 4.3 Production QMS Assessment |  | EU MDD/IVDD/AIMDD Full Quality Assurance or Production Quality Assurance (PQA) Audit Report EU MDR/IVDR Quality Management System Audit Report MDSAP Audit Report | EU MDD/IVDD/AIMDD FQA Audit Report or EU MDD PQA Audit Report or EU MDR/IVDR Audit Report or MDSAP Audit Report Accepted in place of a TGA surveillance assessment (with a satisfactory audit scope and in the absence of safety signals) Considered along with a Re-audit for the purposes of TGA recertification (5 year cycle) | EU MDD/IVDD/AIMDD FQA Audit Report or EU MDD PQA Audit Report or EU MDR/IVDR Audit Report MDSAP Audit Report Accepted in place of a TGA surveillance assessment (with a satisfactory audit scope and in the absence of safety signals) |
|  | 4.5 Assessment of changes to Production QMS |  |  | EU MDD FQA Audit Report or EU MDR/IVDR Audit Report or MDSAP Audit Report Considered for the purposes of abridging TGA’s assessment of the change. | EU MDD FQA Audit Report or EU MDR/IVDR Audit Report or MDSAP Audit Report Considered for the purposes of abridging TGA’s assessment of the change. |
| Part 5 – Product QMS | 5.3 Product QMS Assessment |  |  |  |  |
|  | 5.5 Assessment of changes to Product QMS |  |  |  |  |

Notes on use of MDSAP evidence:

MDSAP Certificates are issued to Manufacturers, those legal entities that take responsibility for design, production, packaging and labelling etc. before placing on the market under their own name.

MDSAP Reports are prepared for medical device organisations (Sites), including the sites of the manufacturer, that are audited. A site is variously defined in Brazilian, Japanese and US regulations as a location that undertakes specific types of activities related to the manufacture of a medical device. (that is, a step-in manufacture of a medical device).

An MDSAP report may relate to a Site that is within the scope of a Manufacturer’s QMS, or may relate to a Supplier to a Manufacturer. The TGA expects that a manufacturer is responsible for all aspects of the QMS related to their device. An MDSAP Report shall similarly account for all aspects of the Manufacturer’s QMS.

The TGA can only use certificates and reports that relate to Manufacturers.

If a manufacturer chooses to apply a CA procedure for a higher class of medical device, the criteria for accepting MDSAP reports or certification applies as if the device was classified at that higher class.

MDSAP reports must contain evidence of the extent to which requirements have been fulfilled; in particular, for critical processes that will determine whether a product complies with the Essential Principles. The Australian regulatory requirements must have been covered in the audits, and certificates must show that the manufacturer has been assessed and found to comply with the relevant aspects of the Therapeutic Goods (Medical Devices) Regulations 2002

## Table 2: Information needed for ARTG inclusion applications

| Device Classification | Regulators / Approvals |  | Manufacturer Evidence (QMS Certificate) | Documentation that must be provided with the application (Evidence of product assessment) |
| --- | --- | --- | --- | --- |
| Medical Devices (not including IVDs) |  |  |  |  |
| Class I non-sterile, non-measuring (Regulation 3.9(1)) | TGA | Declaration of conformity made under clause 6.6 of Schedule 3 of MD Regulations | N/A | N/A |
| Class I Procedure Pack or System Regulation 3.10(1)9d) or (e) whatever is relevant | TGA | Declaration of conformity made under clause 7.5 of Schedule 3 of MD Regulations | N/A | N/A |
| Class I Export only | TGA | N/A | N/A | N/A |
| Class Is or Im (supplied in a sterile state or with measuring function) (Regulation 3.9(2) and 3.9(3)) | TGA | CAC – MD Regulations Schedule 3 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination), or Part 3 – Verification (not applicable for Class Is), or Part 4 – Production Quality Assurance, or Part 5 – Product Quality Assurance (not applicable for Class Is) | N/A |
|  | EU | EU MDD 93/42/EEC | Annex II.3, or Annex IV (specific batches are included on the certificate) (not applicable for Class Is), or Annex V, or Annex VI (‘metrology aspects’ or equivalent wording) (not applicable for Class Is) |  |
|  |  | EU 90/385/EEC (AIMDD) for AIMD | Annex 2.3, or Annex 4 (for non-sterile devices where specific batches are included on the certificate), or Annex 5 |  |
|  |  | EU MDR | Limited to establishing and maintaining sterility; or conformity with metrological requirements; or aspects related to reuse of the device: Annex IX, Chapter I (QMS) Annex XI (Product Conformity Verification), Part A |  |
|  | MDSAP |  | MDSAP Certificate |  |
| Class IIa (Regulation 3.8) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination), or Part 3 – Verification (for non-sterile devices), or Part 4 – Production Quality Assurance, or Part 5 – Product Quality Assurance (for non-sterile devices) | N/A |
|  | EU | EU MDD 93/42/EEC5 | Annex II.3, or Annex IV (for non-sterile devices where specific batches are included on the certificate), or Annex V, or Annex VI (for non-sterile devices) | N/A |
|  |  | EU 90/385/EEC (AIMDD) for AIMD6 | Annex 2.3, or Annex 4 (for non-sterile devices where specific batches are included on the certificate), or Annex 5 | N/A |
|  |  | EU MDR7 | Annex IX, Chapter I (QMS), or Production quality assurance certificate issued under Part A of Annex XI, or Product verification certificate issued under Part B of Annex XI (for non-sterile devices) |  |
|  | Japan | Japan’s Ministry of Health, Labour and Welfare or the Japanese Pharmaceuticals and Medical Devices Agency | QMS certificate, or MDSAP Certificate | Pre-market certificate |
|  | Health Canada | MDR SOR/98-282 | MDSAP Certificate | Medical device licence Class II |
|  | FDA | DeNovo | MDSAP Certificate | De Novo Decision Summary |
|  |  | Premarket Notification – 510(k) | MDSAP Certificate | 510(k) - Summary |
|  |  | Exempted from 510(K) requirements |  | Evidence of 510(K) exemption |
|  | Singapore | Health Sciences Authority | Extract from, or copy of, the entry in the Singapore Register oh Health Products as a Class B medical device | N/A |
| Class IIb (Regulation 3.7) | TGA | CAC - MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination) | N/A |
|  |  |  | Part 3 – Verification (for non-sterile devices), or Part 4 – Production Quality Assurance, or Part 5 – Product Quality Assurance (for non-sterile devices) | Part 2 – Type Examination |
|  | EU | EU MDD 93/42/EEC5 | Annex II.3 | N/A |
|  |  |  | Annex IV (for non-sterile devices where specific batches are included on the certificate), or Annex V, or Annex VI (for non-sterile devices) | Annex III |
|  |  | EU 90/385/EEC (AIMDD) for AIMD6 | Annex 2.3 | N/A |
|  |  | EU MDR7 | Annex IX, Chapter I (QMS) | For a relevant implantable medical device—an EU technical documentation assessment certificate issued under Chapter II of Annex IX of the EU medical devices regulation |
|  |  |  | Annex XI (Product Conformity Verification) | Annex X – Type Examination |
|  | Japan | Japan’s Ministry of Health, Labour and Welfare or the Japanese Pharmaceuticals and Medical Devices Agency | QMS certificate, or MDSAP Certificate | Pre-market certificate |
|  | Health Canada | MDR SOR/98-2828 | MDSAP Certificate | Medical device licence Class III |
|  | FDA | DeNovo | MDSAP Certificate | De Novo Decision Summary |
|  |  | Premarket Notification - 510(k) |  | 510(k) – Summary |
|  |  | Premarket Approval (PMA) | MDSAP Certificate (or PMA) | PMA |
|  | Singapore | Health Sciences Authority (HSA) | Extract from, or copy of, the entry in the Singapore Register of Health Products as a Class C medical device | N/A |
| Class III (Regulation 3.6) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination) | Part 1 – clause 1.6 Design Examination |
|  |  |  | Part 3 – Verification (for non-sterile devices), or Part 4 – Production Quality Assurance | Part 2 – Type Examination |
|  | EU | EU MDD 93/42/EEC5 for Class III | Annex II.3 | Annex II.4 – Design Examination |
|  |  |  | Annex IV (for non-sterile devices where specific batches are included on the certificate), or Annex V | Annex III – Type Examination |
|  |  | EU 90/385/EEC6 (AIMDD) for AIMD | Annex 2.3 | Annex 2.4 – Design Examination |
|  |  |  | Annex 4 (for non-sterile devices where specific batches are included on the certificate), or Annex 5 | Annex 3 |
|  |  | EU MDR7 | Annex IX (QMS) | Annex IX (Assessment of Technical Documentation) |
|  |  |  | Annex XI (Product Conformity Verification) | Annex X – Type Examination |
|  | Japan | Japan’s Ministry of Health, Labour and Welfare or the Japanese Pharmaceuticals and Medical Devices Agency | QMS certificate, or MDSAP Certificate | Pre-market approval certificate |
|  | Health Canada | MDR SOR/98-2828 | MDSAP Certificate | Medical device licence Class IV |
|  | FDA | Premarket Approval (PMA) | MDSAP Certificate (or PMA) | PMA |
|  |  | Premarket notification | MDSAP Certificate | 510(K) Clearance |
|  | Singapore | Health Sciences Authority (HSA) | Extract from, or copy of, the entry in the Singapore Register of Health Products as a Class D medical device |  |
| Procedure Pack or System (other than Class I) Regulation 3.10(1)(d) or (e) whatever is relevant | TGA | DOC | Declaration of conformity made under Clause 7.5 of Schedule 3 of MD Regulations | Evidence of the appropriate conformity assessment procedures applied to each medical device in the system/pack |

| Device Classification | Regulators / Approvals |  | Manufacturer Evidence (QMS Certificate) | Documentation that must be provided with the application* (Evidence of product assessment) |
| --- | --- | --- | --- | --- |
| IVD |  |  |  |  |
| Class 1 IVD and Class 1 IVD Export only (Regulation 3.9A) | TGA |  | N/A | N/A |
| Class 2 IVD (Regulation 3.8A) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination), or Part 4 – Production Quality Assurance | N/A |
|  | EU | IVDD 98/79/EC in vitro diagnostic medical devices The sponsor may also need to provide evidence that the manufacturer meets the EU IVDR extension eligibility conditions. | For an application submitted before 1 January 2030, Certification issued under Annex IV.3, or Certification issued under Annex VII | N/A |
|  |  | EU IVD regulations | Annex IX, Chapter I | For self-testing and near-patient testing: Assessment of Technical Documentation set out in Section 5.1 of Annex IX |
|  | FDA | Premarket Notification – 510(k) | MDSAP Certificate | 510(k) Summary |
|  | Health Canada |  | MDSAP Certificate | Class II medical device license |
|  | Singapore | Health Sciences Authority (HSA) | Extract from, or copy of, the entry in the Singapore Register of Health Products as a Class B IVD | N/A |
|  | MDSAP |  | MDSAP Certificate | N/A |
|  | PMDA (Japan) |  | MDSAP Certificate | For self-testing and near-patient testing: Pre-market certification under PMDA Pre-market approval under PMDA |
|  |  |  | QMS certificate for the purposes of the Japanese Pharmaceuticals and Medical Devices Agency (PMDA) Act |  |
|  | ISO 13485 |  | For Class 2 IVD applications submitted before 26 May 2027, we will accept ISO 13485 certificates issued by a certification body that is also a Notified Body designated under the IVD Directive 98/79/EC (IVDD), if the manufacturer also has a signed EU declaration of conformity issued under Annex III of the IVDD before 26 May 2022. | N/A |
|  | ISO 13485 |  | For Class 2 IVD applications submitted before 26 May 2027, we will accept ISO 13485 certificates issued by a certification body accredited by a signatory to the Multilateral Recognition Arrangement of the International Accreditation Forum (IAF MLA), if the manufacturer also has a signed EU declaration of conformity issued under Annex III of the IVD Directive 98/79/EC (IVDD) before 26 May 2022 | N/A |
| Class 3 IVD (Regulation 3.7A) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination) | N/A |
|  |  |  | Part 4 – Production Quality Assurance | Part 2 – Type Examination |
|  | EU | IVDD 98/79/EC in vitro diagnostic medical devices12 The sponsor may also need to provide evidence that the manufacturer meets the EU IVDR extension eligibility conditions. | For an application submitted before 1 January 2029, Certification issued under Annex IV.3 | N/A |
|  |  |  | For an application submitted before 1 January 2029, Certification issued under Annex VII | Annex V – Type Examination |
|  |  | EU IVD regulation14 | Annex IX (QMS) Chapter I | Assessment of the technical documentation as specified in Section 4 of Annex IX for at least one representative device per generic device group. For self-testing and near-patient testing: Assessment of Technical documentation set out in Section 5.1; For companion diagnostics: Assessment of Technical Documentation set out in Section 5.2 |
|  |  |  | Annex XI (Production Quality Assurance) except Section 5 | Annex X –Type Examination |
|  | FDA | Premarket Notification - 510(k) | MDSAP Certificate | 510(k) Summary |
|  |  | Premarket Approval (PMA) under 515 of the US FDC Act | MDSAP Certificate (or PMA) | PMA |
|  | Health Canada |  | MDSAP Certificate | Medical device licence Class III |
|  | Singapore | Health Sciences Authority (HSA) | Extract from, or copy of, the entry in the Singapore Register of Health Products as a Class C IVD | N/A |
|  | MDSAP |  | MDSAP Certificate | N/A |
|  | PMDA (Japan) |  | MDSAP Certificate or QMS certificate for the purposes of the Japanese Pharmaceuticals and Medical Devices Agency (PMDA) Act | For self-testing and point of care testing: Pre-market certification under PMDA or Pre-market approval under PMDA |
|  | ISO 13485 |  | For Class 3 IVD applications submitted before 26 May 2026, we will accept ISO 13485 certificates issued by a certification body that is also a Notified Body designated under the IVD Directive 98/79/EC (IVDD), if the manufacturer also has a signed EU declaration of conformity issued under Annex III of the IVDD before 26 May 2022. | EU declaration of conformity issued under Annex III of the IVD Directive (IVDD) 98/79/EC before May 2022 |
|  | ISO 13485 |  | For class 3 IVD applications submitted before 26 May 2026, we will accept ISO 13485 certificates issued by a certification body accredited by a signatory to the Multilateral Recognition Arrangement of the International Accreditation Forum (IAF MLA), if the manufacturer also has a signed EU declaration of conformity issued under Annex III of the IVD Directive 98/79/EC (IVDD) before 26 May 2022. | EU declaration of conformity issued under Annex III of the IVD Directive (IVDD) 98/79/EC before May 2022 |
| Class 4 IVD (Regulation 3.6A) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination) | Part 1 - clause 1.6 Design Examination |
|  |  |  | Part 4 – Production Quality Assurance | Part 2 - Type Examination |
|  | EU | IVDD 98/79/EC in vitro diagnostic medical devices12 The sponsor may also need to provide evidence that the manufacturer meets the EU IVDR extension eligibility conditions. | For an application submitted before 1 January 2028, Certification issued under Annex IV.3 | Annex IV – Design examination |
|  |  |  | For an application submitted before 1 January 2028, Certification issued under Annex VII | Annex V - Type Examination |
|  |  | EU IVD regulations14 | Annex IX (QMS) Chapter I | Annex IX (QMS) Chapter II – Design examination |
|  |  |  | Annex XI (Production Quality Assurance) except Section 5 | Annex X -Type Examination |
|  | FDA |  | Premarket approval under 515 of the US FDC Act | Premarket approval under section 515 of the US FDC Act |
|  | Health Canada |  | MDSAP Certificate | Medical Device class IV license |
|  | Singapore |  | An extract of the Singapore Register of Health Products as a Class D IVD | N/A |
|  | PMDA (Japan) |  | MDSAP certificate Or QMS certificate from the Pharmaceuticals and Medical Devices Agency (PMDA) | Pre-market approval under PMDA |
| Class 4 In-House IVD (Regulation 3.6B) | TGA | CAC – MD Regulations Schedule 34 | Part 1 – Full Quality Assurance (excluding clause 1.6 Design Examination) | Part 1 - clause 1.6 Design Examination |
|  |  |  | Part 6B – GMP licence | N/A |
|  |  |  | Part 6B – NATA accreditation |  |

*For inclusion applications of higher risk IVDs such as class 3, class 4, self-tests and Point of Care tests, it is encouraged that applicants submit the information for use (IFU) of the device, as this item can also help expedite the preliminary assessment

Version history

| Version | Description of change | Author | Effective date |
| --- | --- | --- | --- |
| V1.0 | Original publication | Medical Devices Branch, Therapeutic Goods Administration | 20/08/2018 |
| V1.1 | Clarification of acceptable ISO 13485 certificates for IVD medical devices | Medical Devices Branch, Therapeutic Goods Administration | 26/11/2018 |
| V1.2 | Further clarification on acceptable ISO 13485:2016 certificates for IVD medical devices. Removal of requirement for attachment of Health Canada Medical licence listing for applications for Class 2 and Class 3 IVD medical devices (to pass preliminary assessment). Removal of CMDCAS reference for medical devices (that is, non-IVD medical devices) | Medical Devices Branch, Therapeutic Goods Administration | May 2019 |
| V1.3 | Insertion of links to legislative instruments and related notations | Medical Devices Branch, Therapeutic Goods Administration | July 2019 |
| V1.4 | Amendments to reflect changes to application process and requirements for inclusion of Class I non-sterile, non-measuring devices | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | October 2020 |
| V1.5 | Amendments to reflect the repeal of Therapeutic Goods (Medical Devices) Regulations 2002, Regulation 4.1 (requirement for TGA conformity assessment for medical devices containing medicines or materials of animal, microbial, recombinant or human origin, or Class 4 IVDs | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | September 2021 |
| V1.6 | Amendments to reflect the extended acceptance of ISO13485 certificates as manufacturer evidence for IVD applications in line with EU IVDR (207/746) | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | May 2022 |
| V1.7 | Amendments to include Singapore HSA as a comparable overseas regulator | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | September 2022 |
| V1.8 | Amendments to clarify the requirements for EUMDR | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | May 2023 |
| V1.9 | Corrections, and to reflect end of acceptance of most ISO 13485 certificates for IVDs | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | June 2023 |
| V1.10 | Amendments to reflect the Therapeutic Goods (Medical Devices—Information that Must Accompany Application for Inclusion) Amendment (European Union—Class IIa and Class IIb) Determination 2023 | Medical Devices Authorisation and Surveillance Branches, Therapeutic Goods Administration | November 2023 |
| V2.0 | Amendments to reflect recent updates to the Determination as part of changes to Regulation 5.3 on 1 July 2024 and the TGA strategy to manage further extension to the EU IVDR transition timelines. | Medical Devices Authorisation Branch, Therapeutic Goods Administration | January 2025 |

Therapeutic Goods Administration

PO Box 100 Woden ACT 2606 Australia Email: info@tga.gov.au Phone: 1800 020 653 Fax: 02 6203 1605 https://www.tga.gov.au

Reference/Publication #

TGA conformity assessment certificate issued under Schedule 3 of the Therapeutic Goods (Medical Devices) Regulations 2002

EC Certificate issued under Council Directive 93/42/EEC of 14 June 1993 concerning medical devices

EC Certificate issued under Council Directive 90/385/EEC of 20 June 1990 on the approximation of the laws of the Member States relating to active implantable medical devices

Certificates issued under Regulation (EU) 2017/745 of the European Parliament and of the Council of 5 April 2017 on medical devices, amending Directive 2001/83/EC, Regulation (EC) No 178/2002 and Regulation (EC) No 1223/2009 and repealing Council Directives 90/385/EEC and 93/42/EEC

Certificate or licence issued under the Canadian Medical Devices Regulations (SOR/98-282)

relevant implantable medical device means an implantable medical device other than a medical device: (a) mentioned in paragraphs 13A.1(1)(b) or (ba) of Schedule 1 to the Regulations; or (b)  to which subclause 13A.1(2) of Schedule 1 to the Regulations applies. Note: Medical devices mentioned in paragraph 13A.1(1)(b) of Schedule 1 to the Regulations include, for example, sutures, staples, dental fillings and dental braces. The medical devices mentioned in paragraph 13A.1(1)(ba) of Schedule 1 to the Regulations are medical devices that are intended by the manufacturer to be for export only.

The declaration of conformity is made by the manufacturer and is not assessed by the TGA. However, sponsors must ensure that the declaration is made in accordance with the Australian requirements (Clause 7.5 of Schedule 3 of the Therapeutic Goods (Medical Device) Regulations 2002)

EC Certificate issued under Directive 98/79/EC of the European Parliament and of the Council of 27 October 1998 on in vitro diagnostic medical devices

Certificates issued under Regulation (EU) 2017/746 of the European Parliament and of the Council of 5 April 2017 on in vitro diagnostic medical devices and repealing Directive 98/79/EC and Commission Decision 2010/227/EU. To assist with preliminary assessment of the applications it is recommended to submit the PEAR/TDAR issued by the notified body.